## Foglio1
const uint16_t Input_Registers_Index_DB[MB_VARS_TABLE_SIZE] =
MC406 MODBUS REGISTERS COMMAND 04
CMD04 (read-only variables)
| MODBUS ADDRESS | NUM. BYTES | Description | Description | DATA TYPE | Access (Read/Write) | Customer
| 1662 | 4 | FRATE_M3H float | instantaneous measurement flow rate in m3/h | m3/h | R | YES
| 1664 | 4 | FRATE_MS float | instantaneous measurement fluid velocity in m/s | m/s | R | YES
| 1666 | 4 | FRATE_UTTB float | instantaneous measurement flow rate in the current technical unit | UT | R | YES
| 1668 | 4 | FRATE_PERC float | instantaneous measurement flow rate in % of full scale | % FS | R | YES
| 1670 | 4 | ICOIL_MA float |  |  | R | NO
| 1672 | 8 | TPACC_M3 double | counter total positive in the current technical unit | m3 | R | YES
| 1676 | 8 | TNACC_M3 double | counter total negative in the current technical unit | m3 | R | YES
| 1680 | 8 | PPACC_M3 double | counter partial positive in the current technical unit | m3 | R | YES
| 1684 | 8 | PNACC_M3 double | counter partial negative in the current technical unit | m3 | R | YES
| 1688 | 8 | TPACC_UT double | counter total positive in m3 | UT | R | YES
| 1692 | 8 | TNACC_UT double | counter total negative in m3 | UT | R | YES
| 1696 | 8 | PPACC_UT double | counter partial positive in m3 | UT | R | YES
| 1700 | 8 | PNACC_UT double | counter partial negative in m3 | UT | R | YES
| 1704 | 8 | LOG_LAST_ROW long |  |  | R | NO
| 1706 | 2 | EVENTS_COUNT word |  |  | R | NO
| 1707 | 1 | HW_INFO byte |  |  | R | NO
| 1708 | 1 | FW_VER byte |  |  | R | NO
| 1709 | 1 | FW_REV byte |  |  | R | NO
| 1710 |  | DEBUG_MEAS data |  |  | R | NO
| 1726 | 4 | T1 float | optional temperature probe T1 | °C | R | YES
| 1728 | 4 | T2 float | optional temperature probe T2 | °C | R | YES
| 1730 | 4 | PRESSURE float | optional pressure probe | bar | R | YES
| 1732 | 2 | MC406 ERROR word |  |  | R
| 1733 | 1 | BATT LEVEL byte |  |  | R
| MODBUS ADDRESS | NUM. BYTES | Description | Description | DATA TYPE | Access (Read/Write) | Customer
const uint16_t Holding_Registers_Index_DB[MB_PARS_TABLE_SIZE] =
| 1000 |  | EE_KEY
| 1001 |  | EE_PULSE_LENGTH
| 1002 |  | EE_OFFSET_TEMP
| 1003 |  | EE_SPEC_HEAT_sA
| 1005 |  | EE_SPEC_HEAT_sB
| 1007 |  | EE_SPEC_HEAT_sC
| 1009 |  | EE_SPEC_HEAT_sD
| 1011 |  | EE_DENSITY_cA
| 1013 |  | EE_DENSITY_cB
| 1015 |  | EE_DENSITY_cC
| 1017 |  | EE_DENSITY_cD
| 1019 |  | EE_DTMIN
| 1020 |  | EE_TMEAS_TIME
| 1021 |  | EE_PMEAS_TIME
| 1022 |  | EE_ENERGY_OPTION
| 1023 |  | EE_PRESS_OPTION
| 1024 |  | EE_PLOG_TIME
| 1025 |  | EE_CALIBR_TEMP
| 1026 |  | EE_CALIBR_VOLT
| 1027 |  | EE_WAKEUP_SEC
| 1028 |  | EE_PWD_TIMEOUT
| 1029 |  | EE_BATT_AUTOSAVE
| 1030 |  | EE_TIMEOUT_TO_MAIN
| 1031 |  | EE_PRESS_PROBE_CAL
| 1033 |  | EE_PRESS_CURRENT_CAL
| 1035 |  | EE_SPECIAL_VISUAL
| 1036 |  | EE_CAL_LEV_4MA
| 1038 |  | EE_CAL_LEV_20MA
| 1040 |  | EE_MEAS_FOR_4_20_MA
| 1041 |  | EE_ENABLE_REV_FLOW_ON_4_20MA
| 1042 |  | EE_VEL_LEV_FOR_4MA
| 1044 |  | EE_VEL_LEV_FOR_20MA
| 1046 |  | EE_PRESS_PROBE_CAL_OFFSET
| 1048 |  | EE_ENABLE_BOARD_4_20_MA
| 1049 |  | EE_REV_FLOW_ERR_VAL_4_20MA_OUT
| 1051 |  | EE_EPIPE_ERR_VAL_4_20MA_OUT
| 1053 |  | EE_COIL_ERR_VAL_4_20MA_OUT
| 1055 |  | EE_GEN_ERR_VAL_4_20MA_OUT
| 1057 |  | EE_OUT_LOWER_LIMIT_4_20MA
| 1059 |  | EE_OUT_UPPER_LIMIT_4_20MA
| 1061 |  | EE_NEG_PULSE_OUTPUT_MODE
| 1062 |  | EE_PULSE_VOL
| 1063 |  | EE_UT_PULSE
| 1064 |  | EE_FW_V
| 1065 |  | EE_FW_R
| 1066 |  | EE_SENSOR_MODEL
| 1072 |  | EE_OTHER_FEAT
| 1082 |  | EE_CONV_ID
| 1087 |  | EE_SENSOR_ID
| 1092 |  | EE_CONV_SN
| 1094 |  | EE_CAL_DATE
| 1098 |  | EE_DEV_NAME
| 1102 |  | EE_MANUFACTURER
| 1107 |  | EE_FW_EXECUTION_EN
| 1108 |  | EE_PRODUCT_VARIANT
| 1109 |  | EE_PASSWORD
| 1111 |  | EE_BASE_SEC
| 1113 |  | EE_MCOUNT
| 1115 |  | EE_uAh_TOT
| 1117 |  | EE_uAh_LEFT
| 1119 |  | EE_AWAKE_SEC
| 1121 |  | EE_ACC_START
| 1154 |  | EE_EVENTLOG_FIRST_IDX
| 1156 |  | EE_EVENTLOG_NEXT_IDX
| 1158 |  | EE_EVENTLOG_INDEXEX_BASE
| 1217 |  | EE_EVENTLOG_RECORDS_BASE
| 1280 |  | EE_GSMinstalled
| 1281 |  | EE_GSM_SimPin
| 1282 |  | EE_GSM_setSMS
| 1283 |  | EE_GSM_setEMAIL
| 1284 |  | EE_GSM_setEMAIL_ATTACH
| 1285 |  | EE_GSM_setFTP_ATTACH
| 1286 |  | EE_GSM_next_row_FTP
| 1288 |  | EE_GSM_next_row_ATTACH
| 1290 |  | EE_GSM_max_consecutive_rows
| 1292 |  | EE_GSM_cfg_timeout
| 1293 |  | EE_GSM_hard_timeout
| 1294 |  | EE_GSM_timeSMS
| 1295 |  | EE_GSM_timeEMAIL
| 1296 |  | EE_GSM_timeEMAIL_ATTACH
| 1297 |  | EE_GSM_timeFTP
| 1298 |  | EE_GSM_hourSMS
| 1299 |  | EE_GSM_hourEMAIL
| 1300 |  | EE_GSM_hourEMAIL_ATTACH
| 1301 |  | EE_GSM_hourFTP
| 1302 |  | EE_GSM_zoneGMT
| 1303 |  | EE_GSM_roaming
| 1304 |  | EE_GSM_ErrorLogDataStart
| 1311 |  | EE_CUSTIMIZED_CONV_ID
| 1323 |  | EE_CUSTIMIZED_SENSOR_ID
| 1335 |  | EE_CUSTOMIZED_SENSOR_MODEL
| 1347 |  | EE_CUSTOMIZED_DEV_NAME
| 1359 |  | EE_CUSTOMIZED_INFO_ENABLE
| 1360 |  | EE_ENABLE_BOARD_BT_RS485
| 1361 |  | EE_BT_ON_INTERVAL
| 1362 |  | EE_RS485_ON_INTERVAL
| 1363 |  | EE_RS485_BAUDRATE
| 1364 |  | EE_RS485_DATA_NUM_BIT
| 1365 |  | EE_RS485_PARITY
| 1366 |  | EE_RS485_STOP_BITS
| 1367 |  | EE_RS485_MODBUS_MODE
| 1368 |  | EE_RS485_MODBUS_ADDR
| 1369 |  | EE_RS485_MODUBUS_BYTE_ORDER
| 1370 |  | SEE_KEY
| 1371 |  | SEE_KA
| 1373 |  | SEE_DIAMETER
| 1374 |  | SEE_SENSOR_OFFSET
| 1376 |  | SEE_EXC_PAUSE
| 1377 |  | SEE_KALIGN
| 1379 |  | SEE_OFFALIGN
| 1381 |  | SEE_CUTOFF
| 1382 |  | SEE_PULSE_VOL_OLD
| 1383 |  | SEE_MEAS_FREQ
| 1384 |  | SEE_DAMPING
| 1385 |  | SEE_UT_FLOW
| 1386 |  | SEE_TB_FLOW
| 1387 |  | SEE_UT_ACC
| 1388 |  | SEE_UT_PULSE_OLD
| 1389 |  | SEE_EPIPE_TH
| 1390 |  | SEE_EPIPE
| 1391 |  | SEE_NDEC_INST
| 1392 |  | SEE_NDEC_ACC
| 1393 |  | SEE_FS_MS
| 1394 |  | SEE_BYPASS
| 1395 |  | SEE_PEAK_CUT
| 1396 |  | SEE_BYPASS_COUNT
| 1397 |  | SEE_PEAKCUT_COUNT
| 1398 |  | SEE_OFFSET_REG
| 1399 |  | SEE_TMEAS_SD24
| 1400 |  | SEE_EPIPE_FREQ
| 1401 |  | SEE_EPIPE_RELEASE
| 1402 |  | SEE_MEAS_WD_EN
| 1403 |  | SEE_MEAS_WD_TH
| 1404 |  | SEE_ADC_GAIN
| 1405 |  | SEE_INSERTION
| 1406 |  | SEE_MEAS_AWAKE_MS
| 1407 |  | SEE_EPIPE_FREQ_FAST
| 1408 |  | SEE_INPUT_STAGE_STAB
| 1409 |  | SEE_DAMPING_SLOW
| 1410 |  | SEE_LINE_FREQ
| 1411 |  | SEE_INTERP_sA_LO
| 1413 |  | SEE_INTERP_sB_LO
| 1415 |  | SEE_INTERP_sC_LO
| 1417 |  | SEE_INTERP_sD_LO
| 1419 |  | SEE_INTERP_sA_HI
| 1421 |  | SEE_INTERP_sB_HI
| 1423 |  | SEE_INTERP_sC_HI
| 1425 |  | SEE_INTERP_sD_HI
| 1427 |  | SEE_INTERP_TH
const uint16_t Input_Registers_RS485_BT_Index_DB[RS485_BT_VARS_TABLE_SIZE] =
| 2664 |  | BOARD_MODEL string
| 2668 |  | FW_VER byte
| 2669 |  | FW_REV byte
| 2670 |  | FW_DATE string